## Sheet1
File | Directory Location of File | Hardcoded Value(s) | Line Number(s) in File | Notes | Suggested Priority
TimeSeries_Instance.mopt | geojson-modelica-translator\geojson_modelica_translator\model_connectors\energy_transfer_systems\templates | Nominal temperatures & temperature differentials | 3-5 |  | High
TeaserBuilding.mot | geojson-modelica-translator\geojson_modelica_translator\model_connectors\energy_transfer_systems\templates | Various parameters, including nominal temperatures and pressure drops | 17-88 |  | High
SpawnCouplingBuilding.mot | geojson-modelica-translator\geojson_modelica_translator\model_connectors\energy_transfer_systems\templates | Nominal water temperatures | 12-13 |  | High
CoolingIndirect_Instance.mopt | geojson-modelica-translator\geojson_modelica_translator\model_connectors\energy_transfer_systems\templates | ETS model parameter values, including nominal pressure drops & temperatures | 6-15 |  | High
HeatingIndirect_Instance.mopt | geojson-modelica-translator\geojson_modelica_translator\model_connectors\energy_transfer_systems\templates | ETS model parameter values, including nominal pressure drops & temperatures | 7-19 |  | High
Spawn_Instance.mopt | geojson-modelica-translator\geojson_modelica_translator\model_connectors\load_connectors\templates | Factors used in calculations of nominal heating and cooling loads | 1-2 | Not clear if these are scaling factors and/or could be set programatically | Medium
time_series_template.json | geojson-modelica-translator\geojson_modelica_translator\system_parameters | Bldg load and ETS model related parameters | 5-30 | Building supply temperatures could be read from time series load files. Should other parameter values, (such as those related to the design of the ETS itself), be set directly by the user in this file, or should they be variables that are read from another configuration file? This will also need to be expanded to account for different ETS model types as they become available. | Medium
ComponentDefinitions.mopt | geojson-modelica-translator\geojson_modelica_translator\model_connectors\couplings\templates\CoolingIndirect_NetworkChilledWaterStub | A ratio between the primary & secondary water flow rates is hard-coded. | 6 |  | Medium
ComponentDefinitions.mopt | geojson-modelica-translator\geojson_modelica_translator\model_connectors\couplings\templates\HeatingIndirect_NetworkHeatedWaterStub | A ratio between the primary & secondary water flow rates is hard-coded. | 4 |  | Medium
spawn_fmu.mot | geojson-modelica-translator\geojson_modelica_translator\modelica\model_connectors\templates | Path to "Experimental/EnergyPlus/Validation/RefBldgSmallOffice.mos" to simulate and plot. | 62 | Note from Amy: I'm not exactly sure how this line is being used. | Low
system_parameters.py | geojson-modelica-translator\geojson_modelica_translator\system_parameters | The indirect ETS option is used without an option for configuration with a direct ETS | 283, 292 | This will probably need to wait for a "direct ETS" model to be available. | Low
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: (by Amy)